## UnitTestInputTemplate
Rockwell Automation Unit Test Template | [15 empty] | --- Key ---
[16 empty] | Dark green |  |  | instructions & information
[16 empty] | Light green |  |  | user input
Specify the test object to unit test. (options: AOI_Definition.L5X, Rung.L5X, Routine.L5X, Program.L5X, Application.ACD) | Add the L5X or ACD filepath to be tested (depends on the test object). Make sure to both include the ".L5X" or ".ACD" file type modifier and to not include quotation marks. (example file path: C:\Users\RAuser\Desktop\WetBulbTemperature_AOI.L5X) | [12 empty] | Keep programmatically generated ACD file used for unit testing? (respond with "TRUE" or "FALSE") |  |  |  |  | Keep programmatically generated L5X files used for unit testing? (respond with "TRUE" or "FALSE")
Test Object Type: | Test Object File Path: | [12 empty] | Keep ACD? |  |  |  |  | Keep L5X?
AOI_Definition.L5X | 1-PRODUCTION-files\L5Xs\WetBulbTemperature.L5X | [12 empty] | TRUE |  |  |  |  | FALSE
Add every tag and/or parameter to be tested. Note that the AOI Parameter Name column parameters must be added in the same order from top to bottom as shown in the Studio 5000 Logix Designer "Add-On Instruction Definition" window in the parameters tab. |  | Fill test cases left to right & top to bottom. For each test case, every tag/parameter must have some value specified. Test Case #0 is the "safe state" that tags/parameters will be set to between subsequent test cases. Clock Cycles is the number of clock cycles the controller will run before the specified outputs are tested Test Considerations: The number of test cases will vary upon desired test robustness. For AOIs with only boolean inputs, a truth table approach is recommended. For AOIs with non-boolean input data types, create test cases that will account for all output conditions/states.
|  | Test Case #: | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263 | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287 | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303 | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319 | 320 | 321 | 322 | 323 | 324 | 325 | 326 | 327 | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335 | 336 | 337 | 338 | 339 | 340 | 341 | 342 | 343 | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351 | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359 | 360 | 361 | 362 | 363 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375 | 376 | 377 | 378 | 379 | 380 | 381 | 382 | 383 | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391 | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399 | 400
Clock Cyles: | bar: 0 to 1
Tag/Parameter Name (top level / 0 Levels): | bar: 0 to 400
EnableIn | ⇨ |  | 0: 0; 1: 0
EnableOut | ⇨ |  | 0: 0; 1: 0
Temperature | ⇨ |  | 0: 0; 1: 100
RelativeHumidity | ⇨ |  | 0: 0; 1: 50
isFahrenheit | ⇨ |  | 0: 0; 1: 1
WetBulbTemperature | ⇨ |  | 0: 0; 1: 0
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨

## AOI_Definition Setup Help
Rockwell Automation Unit Test Template | [25 empty] | --- Key ---
[26 empty] | Dark green |  |  | instructions & information
[26 empty] | Light green |  |  | user input
Specify the test object to unit test. (options: AOI_Definition.L5X, Rung.L5X, Routine.L5X, Program.L5X, Application.ACD) |  | Add the L5X or ACD filepath to be tested (depends on the test object). Make sure to both include the ".L5X" or ".ACD" file type modifier and to not include quotation marks. (example file path: C:\Users\RAuser\Desktop\WetBulbTemperature_AOI.L5X) | [21 empty] | Keep programmatically generated ACD file used for unit testing? (respond with "TRUE" or "FALSE") |  |  |  |  | Keep programmatically generated L5X files used for unit testing? (respond with "TRUE" or "FALSE")
Test Object Type: |  | Test Object File Path: | [21 empty] | Keep ACD? |  |  |  |  | Keep L5X?
AOI_Definition.L5X |  | C:\Users\ASYost\Desktop\UnitTesting\AOI_L5Xs\WetBulbTemperature_AOI.L5X | [21 empty] | TRUE |  |  |  |  | FALSE
Add every tag and/or parameter to be tested. Note that the AOI Parameter Name column parameters must be added in the same order from top to bottom as shown in the Studio 5000 Logix Designer "Add-On Instruction Definition" window in the parameters tab. | [11 empty] | Fill test cases left to right & top to bottom. For each test case, every tag/parameter must have some value specified. Test Case #0 is the "safe state" that tags/parameters will be set to between subsequent test cases. Clock Cycles is the number of clock cycles the controller will run before the specified outputs are tested Test Considerations: The number of test cases will vary upon desired test robustness. For AOIs with only boolean inputs, a truth table approach is recommended. For AOIs with non-boolean input data types, create test cases that will account for all output conditions/states.
| Name of the Subcomponent (Nested ## Levels Deep) | [10 empty] | Test Case #: | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Clock Cyles: | bar: 0
Tag/Parameter Name (top level / 0 Levels): | 1 Level | 2 Levels | 3 Levels | 4 Levels | 5 Levels | 6 Levels | 7 Levels | 8 Levels | Usage: | Scope: | bar: 0 to 20
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨
⇨